**Title 15: Mississippi State Department of Health**

**Part 18: Division of On-site Wastewater**

**Subpart 77: On-site Wastewater Regulations**

Rule 2.1.7 Application: All Manufacturers must ~~annually~~ complete & submit the following:

* + - 1. Application;
      2. Listing and identification of all Fabricators and Distributors of their products and a list of authorized Certified Installers and Certified Maintenance Providers;
      3. Contact information of all technical staff providing training;
      4. Electronic or detailed drawing(s), construction material(s), installation and/or homeowner manual(s) of each product; and
      5. Fee.

Rule 2.1.18 **Requirements:**

* + - 1. A person may not operate as a Certified Professional Evaluator in this state unless the Department currently certifies that person.
      2. A person must meet 1 of the following requirements, in addition to the additional requirements set forth in other sections of this chapter and rules and regulations of the Board, in order to be eligible to become a Certified Professional Evaluator:
         1. Be a professional Geologist registered in the State of Mississippi;
         2. Be a Professional Soil Classifier licensed in the State of Mississippi; or
         3. Be a person who possesses a demonstrable, adequate and appropriate record of professional experience and/or training as determined by the Department.
      3. The Division shall issue a certification to a Certified Professional Evaluator if the Certified Professional Evaluator:
         1. Completes an application form that complies with this chapter and rules adopted under this chapter;
         2. Satisfactorily completes the Certified Professional Evaluator training program provided by the department;
         3. Provides proof of having an errors and omissions policy or surety in effect with liability limits of at least Fifty Thousand Dollars ($50,000.00) per occurrence and at least One Hundred Thousand Dollars ($100,000.00) in total aggregate amount; and
         4. Pays the ~~annual~~ certification fee.
      4. Performance-based systems may only be designed by registered Professional Engineer.

Rule 2.1.28 **Certified Installer Requirements**

* + - 1. The Board shall issue a certification to an installer if the installer:
         1. Completes an application form that complies with this chapter and rules adopted under this chapter;
         2. Satisfactorily completes the training program provided by the Division;
         3. Provides proof of having a valid General Business Liability Insurance policy in effect with liability limits of at least Fifty Thousand Dollars ($50,000.00) per occurrence and at least One Hundred Thousand Dollars ($100,000.00) in total aggregate amount; and
         4. Pays the ~~annual~~ certification fee

Rule 2.1.31 Certified Installer Training Program and Examination

* + - 1. Those persons taking written examination specified in Section **41-67-25(3)(b)** shall pay a fee for such testing as determined by the Department based on the actual costs of preparing and administering the examinations.
      2. Attendance of the Department’s 2 day Certified Installers training course.
      3. Applicant must achieve a score of 80% or better on the closed book examination.
      4. All persons completing the above items will be granted a probationary certificate. ~~The probationary certificate will be valid for 1 year.~~ A person will be probationary until he/she installs 3 Individual On-site Wastewater Disposal Systems as indicated from a Permit/Recommendation and work has been inspected by the Division during installation with no deficiencies indicated on Inspection (Form 305). Probationary status will remain in effect until person is deemed competent by the Division.

Rule 2.1.38 **Certified Pumper Requirements:**

* + - 1. The Department shall issue a license to a pumper if the pumper:
      2. Completes an application that complies with this chapter and rules adopted under this chapter;
      3. Satisfactorily complies with the requirements of his/her pumping and hauling equipment;
      4. Provides documentation of a disposal site approved by the Department of Environmental Quality, Office of Pollution Control;
      5. Provides proof of having a valid General Business Liability Insurance policy in effect with liability limits of at least Fifty Thousand Dollars ($50,000.00) per occurrence and at least One Hundred Thousand Dollars ($100,000.00) in total aggregate amount;
      6. Submits passing inspection of each vehicle;
      7. Pays the ~~annual~~ license fee.

**Chapter 7 FEES**

**Subchapter 2.** CERTIFICATION

Rule 7.2.1. Certified Manufacturer

a. Product Review ..........................................................................$325

b. Certification of Registration ......................................................~~$130~~$300

Rule 7.2.3. Certified Installer

a. Initial Certification.......................................................................~~$65~~$150

b. Renewal Certification ..................................................................~~$65~~$150

Rule 7.2.4. Certified Pumper

a. Initial Certification.......................................................................~~$65~~$150

b. Inspection .................................................................. $32.50/Vehicle

c. Renewal Certification ..................................................................~~$65~~$150