Summary of Modifications

Part 18 – Division of On-site Wastewater

Subpart 77 On-site Wastewater Regulations

| Chapter and Rule | Page | Modification | Explanation |
| --- | --- | --- | --- |
| Chapter 1, Rule 1.5.5. | 1 | Remove “one (1) year” and add “two (2) years” | Extends the expiration of Permit/Recommendation (Form 335 E) from one (1) year to two (2) years |
| Chapter 2, Rule 2.1.38.4. | 1 | Add “annual” | Allows for annual confirmation of MDEQ certified dump sites for Certified Pumpers |
| Chapter 5, Rule 5.5.15.6 | 1 | New rule | Allow homeowner installation of EPS 1-14 Aggregate Replacement disposal |